## Purchase Order Requisition
Electrical Supplies Pricing Page 1
Bid #: 7907-M3
Two awards may be made. Bidders may bid on all items OR all except for Allen Bradley items shown on Bid Page 2.
All Items Must be delivered no later than November 1, 2022
Item # | QUANTITY | UNIT MEASURE | DESCRIPTION | UNIT $ | TOTAL $
1 | 5000 | Feet | 14/2 Non-Metallic Sheathed Cable (250 ft coil)
2 | 5000 | Feet | 14/3 Non-Metallic Sheathed Cable (250 ft coil)
3 | 500 | Feet | 14/4 Non-Metallic Sheathed Cable (250 ft coil)
4 | 8000 | Feet | Black #14 AWG THHN-THWN Solid wire (500ft roll)
5 | 10000 | Feet | Red #14 AWG THHN-THWN Solid wire (500ft roll)
6 | 10000 | Feet | Blue #14 AWG THHN-THWN Solid wire (500ft roll)
7 | 5000 | Feet | Green #14 AWG THHN-THWN Solid wire (500ft roll)
8 | 5000 | Feet | White #14 AWG THHN-THWN Solid Wire (500ft roll)
9 | 3000 | Feet | Black #14 AWG THHN-THWN Stranded wire (500ft roll)
10 | 5000 | Feet | Red #14 AWG THHN-THWN Stranded wire (500ft roll)
11 | 1000 | Feet | Green #12 AWG THHN-THWN Stranded wire (500ft roll)
12 | 1000 | Feet | Red #12 AWG THHN-THWN Stranded wire (500ft roll)
13 | 1000 | Feet | Blue #12 AWG THHN-THWN Stranded wire (500ft roll)
14 | 200 | Pcs. | 1/2" Non-Metallic Liquidtite Flexible Conduit
15 | 100 | Pcs. | 1/2" Non-Metallic Liquidtite Straight Connector
16 | 25 | Pcs. | 1/2" Non-Metallic Liquidtite 90 degree Connector
17 | 25 | Pcs. | 1/2" Liquidtite Flexible Metallic Conduit Straight Connector
18 | 50 | Pcs. | 1/2" PVC Click Clips
19 | 50 | Pcs. | 3/4" PVC Click clips
20 | 50 | Pcs. | 1/2" PVC 2 hole strap
21 | 50 | Pcs. | 3/4" PVC 2 hole strap
22 | 50 | Pcs. | 2-pole,3 wire, 125 volt, 15 amp straight blade polarized male cord cap
23 | 20 | Rolls | SCOTCH 3M 33+SUPER Vinyl Electrical Tape, Black or equivalent
24 | 200 | Pcs. | non insulated fork stake on, #16-14 AWG, #8 stud
25 | 50 | Pcs. | Insulated Crimp-on Fork Terminal, #12-10 AWG, #10 Stud
26 | 50 | Pcs. | Insulated Crimp-on Fork Terminal, #12 to #10 AWG, #8 Stud Size
27 | 1000 | Feet | 1/2" x 10ft PVC Schedule 40 Conduit
28 | 1000 | Feet | 1/2" x 10' Galvanized Steel Rigid Conduit
29 | 2000 | Feet | 1/2" x 10' Steel EMT Conduit
30 | 200 | Pcs. | #12AWG -#10AWG, #8-#10 stud size Vinyl Insulated Locking Fork Terminal
31 | 1000 | Feet | CAT5E 24/4PR NON-SHIELDED DATA CABLE
32 | 10 | Pcs. | 20A, 125V SPEC GRADE GFCI Receptacle (Gray)
33 | 20 | Pcs. | 20Amp, 120/277Volt, Spec Grade Single Pole Switch (Gray)
34 | 20 | Pcs. | 20Amp, 125 volt Spec Grade Duplex Receptacle, Gray
35 | 10 | Pcs. | 9 terminal Equipment Grounding Bar
36 | 2000 | Pcs. | #18AWG -#10 AWG Copper Crimp Sleeve
37 | 5 | Pcs. | Steel Fan bar box w/ Bracket, 16" to 24"
38 | 5 | Pcs. | Arlington DBVR141W Vertical Retrofit Siding Box, 1/2" Lap, White w/ White Cover
39 | 5 | Pcs. | Arlington 8141 Siding Mounting Kit, for 1/2" Lap
40 | 500 | Pcs. | AC/MC cable one hole clip
41 | 500 | Pcs. | EMT set screw type connector, EMT, Straight, Non-insulated, Steel, 1/2"
42 | 100 | Pcs. | Telescoping box bracket 11"–18" stud space 1 1/2" 2 1/8" box depth
43 | 500 | Pcs. | Red wire nut 76B
44 | 500 | Pcs. | Yellow wire nut 74B
45 | 100 | Pcs. | #12 Solid 8" Grounding Pigtails
46 | 50 | Pcs. | EIKO 120MB or equivalent Pilot Light Lamp
47 | 50 | Pcs. | Sylvania 755/35763 or equivolent Pilot Light Lamp
48 | 10 | Pcs. | Wire Marker Booklet - Legend 0-9 (45 each)
54 | 100 | Pcs. | 4" Steel Square Box Cover, Blank
55 | 100 | Pcs. | 4 inch x 1 1/2 inch deep octagon box w/ 1/2 & 3/4 KO's and raised ground area
56 | 100 | Pcs. | 4 inch sq. x 2 1/8 inch deep box w/ 1/2 & 3/4 KO's and raised ground area
57 | 30 | Pcs. | 4" Square Box Cover, 1/2" Raised, (2) Duplex Receptacles, Steel
58 | 30 | Pcs. | 4" square,1/2 Inch Raised Steel 2-GFCI Receptacle Square Box Cover
59 | 30 | Pcs. | 4" square,1/2 Inch Raised Steel 1-Toggle Switch 1-GFCI Receptacle Square Box Cover
60 | 30 | Pcs. | 4" square, 1/2 Inch Raised Steel 1-Duplex 1-GFCI Receptacle Square Box Cover
| 4 | Pcs. | HONEYWELL CP1270F1 FIRE-LITE ALARMS MS-2 FIRE ALARM BATTERY
62 | 4 | Pcs. | 100 Amp meter socket with 100 Amp main breaker
63 | 100 | Pcs. | Telescoping Box Bracket 11"–18" stud space 1 1/2" 2 1/8" box depth
64 | 2 | Pcs. | Lightning AC Surge Arrestor - for 120/240 VAC Service
65 | 1000 | Pcs. | 6/32 x 1/2" Round Head Machine Screws
67 | 500 | Pcs. | 6/32 x 3/4" Round Head Machine Screws
68 | 500 | Pcs. | 8/32 x 1/2" Round Head Machine Screws
69 | 200 | Pcs. | 10/32 hex nuts
70 | 500 | Pcs. | 1/4" x20 hex nuts
71 | 500 | Pcs. | 1/4"x1-1/4" Fender washers
72 | 200 | Pcs. | #10 Zinc Chromate Steel Flat Washer
73 | 1000 | Pcs. | #10 x 3/4" Combo Head Sheet Metal Screws
74 | 500 | Pcs. | 10/32 x 3/8" Green Ground Screws
75 | 400 | Pcs. | #10 x 3/4" Self Tapping Sheetmetal Screws
76 | 2 | Pcs. | 1/2" - 2" Electrician Holesaw kit
77 | 2 | Pcs. | KLIEN 85484 or equivalent 4 pc. Miniature screwdriver set
78 | 3 | Pcs. | Greenlee DTAPKIT or equivalent 6-32 to 1/4-20 6-Piece Drill Tap Set
| 5 | Pcs. | MILWAUKEE 48-22-8443 PACKOUT 3-Drawer Tool Box
| 2 | Pcs. | MILWAUKEE 48-22-8426 PACKOUT Rolling Tool Box
| 15 | Pcs. | MILWAUKEE 48-22-8473 Drawer Dividers for PACKOUT 3-Drawer Tool Box
82 | 5 | Pcs. | MILWAUKEE 48-32-4025 or equivalent 52PC ELECTRICIAN'S IMPACT DRIVER BIT SET
83 | 5 | Pcs. | MILWAUKEE 48-32-4004 or equivalent Impact Duty Driver Bit Set - 32PC
84 | 4 | Pcs. | MILWAULEE 48-32-5031 or equivalent Impact Duty 1/4 in. x 3/8 in. Alloy Steel Square Socket Adapter
85 | 6 | Pcs. | MILWAUKEE 48-32-4508 or equivalent Impact Duty 3 in. Impact Magnetic Drive Guide Bit or equivalent
86 | 5 | Pcs. | MILWAUKEE 48-89-9221 or equivalent 3pc Step Drill Bit Set (#1, #2, & #4)
| 5 | Pcs. | MILWAUKEE 48-32-4601 or equivalent Insert Bit, Phillips #2 (5/Pack)
| 6 | Pcs. | Klein 626-32 Triple Tap Bits 6-32, 8-32, 10-24 Sizes (replacements)
89 | 4 | Pcs. | 16 ft. 1.25 in. Ratchet Tie-Down Straps with S-Hook
90 | 2 | Pcs. | KLIEN 32314 or equivalent 14-in-1 Precision Screwdriver/ Nut Driver
91 | 2 | Pcs. | 20 LB Dry Chemical, Class ABC Fire Extinguisher with wall bracket
92
93 |  |  | NOTE: Highlighted items are manufacturer specific because they need to work with our existing equipment.