## Purchase Order Requisition
Electrical Supplies Pricing Page
Bid #: 7907-M3
Award to be made in the aggregate. Bidders MUST bid on all items.
All Items Must be delivered no later than November 1, 2022
Item # | QUANTITY | UNIT MEASURE | DESCRIPTION | UNIT $ | TOTAL $
1 | 5000 | Feet | 14/2 Non-Metallic Sheathed Cable (250 ft coil)
2 | 5000 | Feet | 14/3 Non-Metallic Sheathed Cable (250 ft coil)
3 | 500 | Feet | 14/4 Non-Metallic Sheathed Cable (250 ft coil)
4 | 8000 | Feet | Black #14 AWG THHN-THWN Solid wire (500ft roll)
5 | 10000 | Feet | Red #14 AWG THHN-THWN Solid wire (500ft roll)
6 | 10000 | Feet | Blue #14 AWG THHN-THWN Solid wire (500ft roll)
7 | 5000 | Feet | Green #14 AWG THHN-THWN Solid wire (500ft roll)
8 | 5000 | Feet | White #14 AWG THHN-THWN Solid Wire (500ft roll)
9 | 3000 | Feet | Black #14 AWG THHN-THWN Stranded wire (500ft roll)
10 | 5000 | Feet | Red #14 AWG THHN-THWN Stranded wire (500ft roll)
11 | 1000 | Feet | Green #12 AWG THHN-THWN Stranded wire (500ft roll)
12 | 1000 | Feet | Red #12 AWG THHN-THWN Stranded wire (500ft roll)
13 | 1000 | Feet | Blue #12 AWG THHN-THWN Stranded wire (500ft roll)
14 | 200 | Pcs. | 1/2" Non-Metallic Liquidtite Flexible Conduit
15 | 100 | Pcs. | 1/2" Non-Metallic Liquidtite Straight Connector
16 | 25 | Pcs. | 1/2" Non-Metallic Liquidtite 90 degree Connector
17 | 25 | Pcs. | 1/2" Liquidtite Flexible Metallic Conduit Straight Connector
18 | 50 | Pcs. | 1/2" PVC Click Clips
19 | 50 | Pcs. | 3/4" PVC Click clips
20 | 50 | Pcs. | 1/2" PVC 2 hole strap
21 | 50 | Pcs. | 3/4" PVC 2 hole strap
22 | 50 | Pcs. | 2-pole,3 wire, 125 volt, 15 amp straight blade polarized male cord cap
23 | 20 | Rolls | SCOTCH 3M 33+SUPER Vinyl Electrical Tape, Black or equivalent
24 | 200 | Pcs. | non insulated fork stake on, #16-14 AWG, #8 stud
25 | 50 | Pcs. | Insulated Crimp-on Fork Terminal, #12-10 AWG, #10 Stud
26 | 50 | Pcs. | Insulated Crimp-on Fork Terminal, #12 to #10 AWG, #8 Stud Size
27 | 1000 | Feet | 1/2" x 10ft PVC Schedule 40 Conduit
28 | 1000 | Feet | 1/2" x 10' Galvanized Steel Rigid Conduit
29 | 2000 | Feet | 1/2" x 10' Steel EMT Conduit
30 | 200 | Pcs. | #12AWG -#10AWG, #8-#10 stud size Vinyl Insulated Locking Fork Terminal
31 | 1000 | Feet | CAT5E 24/4PR NON-SHIELDED DATA CABLE
32 | 10 | Pcs. | 20A, 125V SPEC GRADE GFCI Receptacle (Gray)
33 | 20 | Pcs. | 20Amp, 120/277Volt, Spec Grade Single Pole Switch (Gray)
34 | 20 | Pcs. | 20Amp, 125 volt Spec Grade Duplex Receptacle, Gray
35 | 10 | Pcs. | 9 terminal Equipment Grounding Bar
36 | 2000 | Pcs. | #18AWG -#10 AWG Copper Crimp Sleeve
37 | 5 | Pcs. | Steel Fan bar box w/ Bracket, 16" to 24"
38 | 5 | Pcs. | Arlington DBVR141W Vertical Retrofit Siding Box, 1/2" Lap, White w/ White Cover
39 | 5 | Pcs. | Arlington 8141 Siding Mounting Kit, for 1/2" Lap
40 | 500 | Pcs. | AC/MC cable one hole clip
41 | 500 | Pcs. | EMT set screw type connector, EMT, Straight, Non-insulated, Steel, 1/2"
42 | 100 | Pcs. | Telescoping box bracket 11"–18" stud space 1 1/2" 2 1/8" box depth
43 | 500 | Pcs. | Red wire nut 76B
44 | 500 | Pcs. | Yellow wire nut 74B
45 | 100 | Pcs. | #12 Solid 8" Grounding Pigtails
46 | 50 | Pcs. | EIKO 120MB or equivalent Pilot Light Lamp
47 | 50 | Pcs. | Sylvania 755/35763 or equivolent Pilot Light Lamp
48 | 10 | Pcs. | Wire Marker Booklet - Legend 0-9 (45 each)
49 | 18 | Pcs. | Allen Bradley W-35 Overload Heater Elements
50 | 10 | Pcs. | Allen Bradley 595-AB Auxiliary Contacts, NEMA Size 0 - 5, 1NO/NC
51 | 10 | Pcs. | Allen Bradley 595-A Auxiliary Contacts, NEMA Size 0 - 5, 1NO
52 | 10 | Pcs. | Allen Bradley 595-B Auxiliary Contacts, NEMA Size 0 - 5, 1NC
53 | 10 | Pcs. | Allen Bradley 700-HN125 Relay Socket
54 | 100 | Pcs. | 4" Steel Square Box Cover, Blank
55 | 100 | Pcs. | 4 inch x 1 1/2 inch deep octagon box w/ 1/2 & 3/4 KO's and raised ground area
56 | 100 | Pcs. | 4 inch sq. x 2 1/8 inch deep box w/ 1/2 & 3/4 KO's and raised ground area
57 | 30 | Pcs. | 4" Square Box Cover, 1/2" Raised, (2) Duplex Receptacles, Steel
58 | 30 | Pcs. | 4" square,1/2 Inch Raised Steel 2-GFCI Receptacle Square Box Cover
59 | 30 | Pcs. | 4" square,1/2 Inch Raised Steel 1-Toggle Switch 1-GFCI Receptacle Square Box Cover
60 | 30 | Pcs. | 4" square, 1/2 Inch Raised Steel 1-Duplex 1-GFCI Receptacle Square Box Cover
61 | 4 | Pcs. | HONEYWELL CP1270F1 FIRE-LITE ALARMS MS-2 FIRE ALARM BATTERY
62 | 4 | Pcs. | 100 Amp meter socket with 100 Amp main breaker
63 | 100 | Pcs. | Telescoping Box Bracket 11"–18" stud space 1 1/2" 2 1/8" box depth
64 | 2 | Pcs. | Lightning AC Surge Arrestor - for 120/240 VAC Service
65 | 1000 | Pcs. | 6/32 x 1/2" Round Head Machine Screws
67 | 500 | Pcs. | 6/32 x 3/4" Round Head Machine Screws
68 | 500 | Pcs. | 8/32 x 1/2" Round Head Machine Screws
69 | 200 | Pcs. | 10/32 hex nuts
70 | 500 | Pcs. | 1/4" x20 hex nuts
71 | 500 | Pcs. | 1/4"x1-1/4" Fender washers
72 | 200 | Pcs. | #10 Zinc Chromate Steel Flat Washer
73 | 1000 | Pcs. | #10 x 3/4" Combo Head Sheet Metal Screws
74 | 500 | Pcs. | 10/32 x 3/8" Green Ground Screws
75 | 400 | Pcs. | #10 x 3/4" Self Tapping Sheetmetal Screws
76 | 2 | Pcs. | 1/2" - 2" Electrician Holesaw kit
77 | 2 | Pcs. | KLIEN 85484 or equivalent 4 pc. Miniature screwdriver set
78 | 3 | Pcs. | Greenlee DTAPKIT or equivalent 6-32 to 1/4-20 6-Piece Drill Tap Set
79 | 5 | Pcs. | MILWAUKEE 48-22-8443 PACKOUT 3-Drawer Tool Box
80 | 2 | Pcs. | MILWAUKEE 48-22-8426 PACKOUT Rolling Tool Box
81 | 15 | Pcs. | MILWAUKEE 48-22-8473 Drawer Dividers for PACKOUT 3-Drawer Tool Box
82 | 5 | Pcs. | MILWAUKEE 48-32-4025 or equivalent 52PC ELECTRICIAN'S IMPACT DRIVER BIT SET
83 | 5 | Pcs. | MILWAUKEE 48-32-4004 or equivalent Impact Duty Driver Bit Set - 32PC
84 | 4 | Pcs. | MILWAULEE 48-32-5031 or equivalent Impact Duty 1/4 in. x 3/8 in. Alloy Steel Square Socket Adapter
85 | 6 | Pcs. | MILWAUKEE 48-32-4508 or equivalent Impact Duty 3 in. Impact Magnetic Drive Guide Bit or equivalent
86 | 5 | Pcs. | MILWAUKEE 48-89-9221 or equivalent 3pc Step Drill Bit Set (#1, #2, & #4)
87 | 5 | Pcs. | MILWAUKEE 48-32- 4601 or equivalent Insert Bit, Phillips #2 (5/Pack)
88 | 6 | Pcs. | Klien 626-32 Triple Tap Bits 6-32, 8-32, 10-24 Sizes (replacements)
89 | 4 | Pcs. | 16 ft. 1.25 in. Ratchet Tie-Down Straps with S-Hook
90 | 2 | Pcs. | KLIEN 32314 or equivalent 14-in-1 Precision Screwdriver/ Nut Driver
91 | 2 | Pcs. | 20 LB Dry Chemical, Class ABC Fire Extinguisher with wall bracket
92
93 |  |  | NOTE: Items highlighted are manufacturer specific because they need to work with our existing equipment.